## Work Orders
Number | Requesting Department | Servicing Department | Activity | Description | Status | Resolution Code | Resolution Code Description | Resolution Message | Accounting Method | Is Utility Billing Work Order | Servicing Priority | Requesting Priority | Emergency | User Defined Status | Assigned Employee | Assigned Vendor | Creator | Creation Date | From System | Estimate Hours | Deposit Amount | Project | Contract | Customer Account | Reference Number | Requested Start Date | Requested Completion Date | Request Received | Scheduled Start Date | Scheduled End Date | Actual Start | Actual End | Deposit Paid | Permit Application | Asset Code | Asset Description | Cause | Administrative Department | Area | Room Number | Parcel | Subdivision | Lot Number | Street Number | Street Name | Street Type | Unit Type | Unit Apt Number | Street Predirection | Street Postdirection | City | Zip | State | Cycle Number | Old Cycle Number | Call Number | Old Call Number | Pick Up Schedule | Old Pick Up Schedule | Account Number | Total Actual Labor | Total Actual Equipment | Total Actual Inventory | Total Actual Supplies | Total Actual Outsourcing | Total Actual Overhead | Total Actual Cost | Task 1 Description | Task 1 Activity | Task 1 Asset | Task 1 Actual Start Date | Task 1 Actual Complete Date | Task 2 Description | Task 2 Activity | Task 2 Asset | Task 2 Actual Start Date | Task 2 Actual Complete Date | Task 3 Description | Task 3 Activity | Task 3 Asset | Task 3 Actual Start Date | Task 3 Actual Complete Date | Task 4 Description | Task 4 Activity | Task 4 Asset | Task 4 Actual Start Date | Task 4 Actual Complete Date
3547 | Utilities | Utilities | WATER EVALUATION | Resident has a high smell of chlorine in their water at 12705 s 104th Ave | Work Complete |  |  |  | D | NO |  |  | NO |  | 1788 |  | kwillson | 4/5/2019 2:23:00 PM | W | 0.00 | 0.00 | [6 empty] | 4/5/2019 12:00:00 AM |  |  | 4/5/2019 12:00:00 AM | 4/6/2019 12:00:00 AM | 0.00 | [10 empty] | 12705 | 104TH AVENUE | [15 empty] | 42.367500 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 42.367500 | Resident has a high smell of chlorine in their water at 12705 s 104th Ave | WATER EVALUATION |  | Apr 5 2019 12:00AM
391 | Utilities | Utilities | SANITARY MANHOLE/MAIN/INSPECT | Rats found in residents toilet. Evaluate sanitary sewer main for rat infestation and notify resident of findings. | Work Complete |  |  |  | D | NO | NORMAL |  | NO |  | 1280 |  | kdado | 11/20/2018 2:28:00 PM | W | 0.00 | 0.00 |  |  |  |  | 11/20/2018 12:00:00 PM | 11/20/2018 12:00:00 PM |  |  |  | 11/20/2018 12:00:00 AM |  | 0.00 | [7 empty] | 23283100010000 |  |  | 609 | INDIAN TRAIL DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 60.937500 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 60.937500 | Rats found in residents toilet. Evaluate sanitary sewer main for rat infestation and notify resident of findings. | SANITARY MANHOLE/MAIN/INSPECT |  | Nov 20 2018 12:00AM
1212 | Utilities | Utilities | WATER MAIN BREAK | Water is flowing from parkway into the street. | Work Complete |  |  |  | D | NO |  |  | NO |  | 1793 |  | dkentner | 12/18/2018 8:19:00 PM | W | 0.00 | 0.00 | [9 empty] | 12/18/2018 6:00:00 PM | 12/20/2018 6:00:00 AM | 0.00 | [7 empty] | 23283100010000 | 95 |  | 609 | INDIAN TRAIL DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 1193.935000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 1193.935000 | Water is flowing from parkway into the street. | WATER MAIN BREAK |  | Dec 18 2018 12:00AM
1237 | Utilities | Utilities | WATER MAIN BREAK | Water is flowing from parkway into the street. | Canceled |  |  |  | D | NO |  |  | NO |  | 1793 |  | bstabile | 12/19/2018 8:05:00 PM | W | 0.00 | 0.00 |  |  |  |  | 12/19/2018 8:05:41 PM |  | 12/19/2018 8:05:41 PM |  |  |  |  | 0.00 | [7 empty] | 23283100010000 |  |  | 609 | INDIAN TRAIL DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | Water is flowing from parkway into the street. | WATER MAIN BREAK |  | Dec 18 2018 12:00AM
10152 | Utilities | Utilities | WATER EVALUATION | WATER EVALUATION - 522 LAKE TRAIL DRIVE - Resident said during different hours of the day he has low water pressure - would like it checked. | Canceled |  |  |  | D | NO |  |  | NO |  | 1794 |  | KKubik | 5/1/2020 7:53:00 AM | W | 0.00 | 0.00 |  |  |  |  | 5/1/2020 12:00:00 AM | [6 empty] | 0.00 | [7 empty] | 23283050170000 | 95 |  | 522 | LAKE TRAIL DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | WATER EVALUATION - 522 LAKE TRAIL DRIVE - Resident said during different hours of the day he has low water pressure - would like it checked. | WATER EVALUATION
3928 | Utilities | Utilities | STORM PIPE, INSPECT | STORM PIPE, INSPECT - 223 LAKELAND DR. SEWER IN THE CURB LINE IS CLOGGED AND WATER IS TO THE TOP | Work Complete |  |  |  | D | NO |  |  | NO |  | 1788 |  | kwillson | 4/25/2019 2:44:00 PM | W | 0.00 | 0.00 | [6 empty] | 4/25/2019 12:00:00 AM |  |  | 4/26/2019 5:00:00 AM | 4/29/2019 5:00:00 AM | 0.00 | [7 empty] | 23283100140000 | 95 |  | 223 | LAKELAND DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 28.245000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 28.245000 | STORM PIPE, INSPECT - 223 LAKELAND DR. SEWER IN THE CURB LINE IS CLOGGED AND WATER IS TO THE TOP | STORM PIPE, INSPECT |  | Apr 26 2019 12:00AM
2326 | Streets | Streets | PAVEMENT CONCRETE PATCH | PAVEMENT CONCRETE PATCH Replaces OP Fix It #003386 - Utility Dept. repaired a WMB on 11/2/18 Restoration: Concrete/Apron: 1/2 apron (20'x20') | Work Complete |  |  |  | D | NO |  |  | NO |  | 1754 |  | KKubik | 2/6/2019 5:44:00 PM | W | 0.00 | 0.00 | [6 empty] | 2/6/2019 12:00:00 AM |  |  | 4/3/2019 12:00:00 AM | 4/26/2019 12:00:00 AM | 0.00 | [10 empty] | 224 | LAKELAND DRIVE | [15 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | PAVEMENT CONCRETE PATCH Replaces OP Fix It #003386 - Utility Dept. repaired a WMB on 11/2/18 Restoration: Concrete/Apron: 1/2 apron (20'x20') | PAVEMENT CONCRETE PATCH |  | Apr 3 2019 12:00AM
3115 | Utilities | Utilities | WATER EVALUATION | Check for leak about 1' from B-box in parkway. There is a hole which was bubbling up water after the rain. It could also be a hole from a mole. Please call resident with findings. | Work Complete |  |  |  | D | NO |  |  | NO |  | 1788 |  | dkentner | 3/14/2019 5:42:00 PM | W | 0.00 | 0.00 | [6 empty] | 3/14/2019 12:00:00 AM |  |  | 3/14/2019 12:00:00 AM | 3/15/2019 12:00:00 AM | 0.00 | [7 empty] | 23283100220000 | 95 |  | 341 | LAKELAND DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 42.367500 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 42.367500 | Check for leak about 1' from B-box in parkway. There is a hole which was bubbling up water after the rain. It could also be a hole from a mole. Please call resident with findings. Vic Mellor 708-361-9404 | WATER EVALUATION |  | Mar 14 2019 12:00AM
1605 | Utilities | Utilities | CHECK FOR WATER LEAK | PD call to Sam. Called in Mike to check for leak at 103 Prairie View Drive, Palos Park. Resident thinks there is a leak where there was an earlier main break. Resident called non-emergency number (PD) | Work Complete |  |  |  | D | NO |  |  | NO |  | 1785 |  | bstabile | 1/8/2019 5:54:00 PM | W | 0.00 | 0.00 |  |  |  |  | 1/2/2019 12:00:00 PM |  |  |  |  | 1/8/2019 12:00:00 PM | 1/8/2019 12:00:00 AM | 0.00 | [7 empty] | 23283070010000 | 95 |  | 103 | PRAIRIE VIEW DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 33.250000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 33.250000 | PD call to Sam. Called in Mike Wick to check for leak at 103 Prairie View Drive, Palos Park. Resident thinks there is a leak where there was an earlier main break. Resident called non-emergency number (PD) | CHECK FOR WATER LEAK |  | Jan 8 2019 12:00AM
1609 | Utilities | Utilities | CHECK FOR WATER LEAK | 103 Prairie View Drive Resident thinks there is still a leak. Resident wants someone to come out and evaluate. Resident is concerned it will get worse before Spring restoration. Speak to resident. | Canceled |  |  |  | D | NO |  |  | NO |  | 1785 |  | bstabile | 1/8/2019 6:28:00 PM | W | 0.00 | 0.00 | [11 empty] | 0.00 | [7 empty] | 23283070010000 | 95 |  | 103 | PRAIRIE VIEW DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 103 Prairie View Drive Resident thinks there is still a leak. Resident wants someone to come out and evaluate. Resident is concerned it will get worse before Spring restoration. Speak to resident. | CHECK FOR WATER LEAK
1616 | Utilities | Utilities | WATER EVALUATION | WMB at his house a couple of weeks ago and alot of damage was done. (tree removed, sprinkler lines broken) He wants someone to come out and inspect the area. Mud and standing water that is now is his back yard near the patio. | Work Complete |  |  |  | D | NO |  |  | NO |  | 2061 |  | kwillson | 1/8/2019 7:53:00 PM | W | 0.00 | 0.00 | [9 empty] | 1/9/2019 12:00:00 AM | 1/10/2019 12:00:00 AM | 0.00 | [7 empty] | 23283070010000 | 95 |  | 103 | PRAIRIE VIEW DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 61.720000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 61.720000 | WMB at his house a couple of weeks ago and alot of damage was done. (tree removed, sprinkler lines broken) He wants someone to come out and inspect the area. Mud and standing water that is now is his back yard near the patio. | WATER EVALUATION |  | Jan 8 2019 12:00AM
1745 | Streets | Streets | TURF RESTORATION | WMB on 12/19/2018 RESTORATION NEEDED: 60'x8', Small tree (birch?) removed and sprinkler system SEE COMMENTS | Work Complete |  |  |  | D | NO |  |  | NO |  | 1752 |  | kwillson | 1/11/2019 4:51:00 PM | W | 0.00 | 0.00 | [9 empty] | 6/3/2019 12:00:00 AM | 6/3/2019 12:00:00 AM | 0.00 | [10 empty] | 103 | PRAIRIE VIEW DRIVE | [5 empty] | Palos Park | [9 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | WMB on 12/19/2018 RESTORATION NEEDED: 60'x8', Small tree (birch?) removed and sprinkler system SEE COMMENTS | TURF RESTORATION |  | Jun 3 2019 12:00AM
4527 | Streets | Streets | TURF RESTORATION | LANDSCAPE TURF RESTORATION - 103 PRAIRE VIEW DRIVE - WMB in December and sprinkler lines were damaged and need repair. Be sure to see Sam | Work Complete |  |  |  | D | NO |  |  | NO |  | 1759 |  | kwillson | 5/21/2019 8:01:00 PM | W | 0.00 | 0.00 | [6 empty] | 5/21/2019 12:00:00 AM |  |  | 7/22/2019 12:00:00 AM | 7/29/2019 12:00:00 AM | 0.00 | [7 empty] | 23283070010000 | 95 |  | 103 | PRAIRIE VIEW DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | LANDSCAPE TURF RESTORATION - 103 PRAIRE VIEW DRIVE - WMB in December and sprinkler lines were damaged and need repair. Be sure to see S. Brokop | TURF RESTORATION |  | Jul 22 2019 12:00AM
14071 | Streets | Streets | TURF RESTORATION | TURF RESTORATION - 145 PRAIRIE VIEW DR - REPAIRED STORM SEWER PIPE ON 9/18/2020 - RESTORATION NEEDED/TURF: 5'X5' (REAR EASMENT OF PROPERTY & REAR EASMENT OF EMPTY LOT EAST OF ADDRESS | Work Complete |  |  |  | D | NO |  |  | NO |  | 1760 |  | kwillson | 9/21/2020 6:08:00 PM | W | 0.00 | 0.00 |  |  |  |  | 9/21/2020 12:00:00 AM |  |  |  |  | 11/16/2020 12:00:00 AM | 11/16/2020 12:00:00 AM | 0.00 | [10 empty] | 145 | PRAIRIE VIEW DRIVE | [15 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | TURF RESTORATION - 145 PRAIRIE VIEW DR - REPAIRED STORM SEWER PIPE ON 9/18/2020 - RESTORATION NEEDED/TURF: 5'X5' (REAR EASMENT OF PROPERTY & REAR EASMENT OF EMPTY LOT EAST OF ADDRESS | TURF RESTORATION |  | Nov 16 2020 12:00AM
4700 | Utilities | Utilities | WATER EVALUATION | WATER EVALUATION - 220 PRAIRIE VIEW DRIVE - Resident said she has a lot of standing water in the back of her yard in the North East corner, she believes the storm sewer is backing up. | Work Complete |  |  |  | D | NO |  |  | NO |  | 1280 |  | KKubik | 5/29/2019 7:08:00 PM | W | 0.00 | 0.00 | [6 empty] | 5/29/2019 12:00:00 AM |  |  | 5/30/2019 12:00:00 AM | 6/18/2019 12:00:00 AM | 0.00 | [7 empty] | 23283060130000 | 95 |  | 220 | PRAIRIE VIEW DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | WATER EVALUATION - 220 PRAIRIE VIEW DRIVE - Resident said she has a lot of standing water in the back of her yard in the North East corner, she believes the storm sewer is backing up. | WATER EVALUATION |  | May 30 2019 12:00AM
10112 | Utilities | Utilities | STORM PIPE, INSPECT | STORM PIPE, INSPECT - 218 TIMBER EDGE (PALOS PARK)- SEWER BACK YARD IS STOPPED UP AND NEEDS TO BE CLEARED. THERE IS A LAKE IN THE BACKYARD. | Work Complete |  |  |  | D | NO |  |  | NO |  | 1280 |  | kwillson | 4/29/2020 11:04:00 PM | W | 0.00 | 0.00 |  |  |  |  | 4/29/2020 12:00:00 AM |  |  |  |  | 5/11/2020 12:00:00 AM | 5/14/2020 12:00:00 AM | 0.00 | [10 empty] | 218 | TIMBER EDGE LANE | [15 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | STORM PIPE, INSPECT - 218 TIMBER EDGE (PALOS PARK)- SEWER BACK YARD IS STOPPED UP AND NEEDS TO BE CLEARED. THERE IS A LAKE IN THE BACKYARD. | STORM PIPE, INSPECT |  | May 11 2020 12:00AM
10450 | Utilities | Utilities | STORM PIPE, INSPECT | STORM PIPE, INSPECT - 218 TIMBER EDGE LN - STORM SEWER IN THE BACK YARD SEEMS TO BE CLOGGED. FENCED YARD BUT NOT LOCKED, COUNTRY ROAD BEHIND THE HOUSE FOR ADDITIONAL ACCESS. | Work Complete |  |  |  | D | NO |  |  | NO |  | 1788 |  | kwillson | 5/18/2020 7:54:00 PM | W | 0.00 | 0.00 |  |  |  |  | 5/18/2020 12:00:00 AM |  |  |  |  | 5/19/2020 12:00:00 AM | 5/19/2020 12:00:00 AM | 0.00 | [10 empty] | 218 | TIMBER EDGE LANE | [15 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | STORM PIPE, INSPECT - 218 TIMBER EDGE LN - STORM SEWER IN THE BACK YARD SEEMS TO BE CLOGGED. FENCED YARD BUT NOT LOCKED, COUNTRY ROAD BEHIND THE HOUSE FOR ADDITIONAL ACCESS. | STORM PIPE, INSPECT |  | May 19 2020 12:00AM
22084 | Streets | Streets | TURF RESTORATION | TURF RESTORATION - 234 & 238 Timbers Edge (back yard) - Restoration needed per S. Brokop | Work Complete |  |  |  | D | NO |  |  | NO |  | 1760 |  | kwillson | 7/19/2021 11:11:00 AM | W | 0.00 | 0.00 | [9 empty] | 8/27/2021 12:00:00 AM | 8/30/2021 12:00:00 AM | 0.00 | [10 empty] | 234 | TIMBER EDGE LANE | [15 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | TURF RESTORATION - 234 & 238 Timbers Edge (back yard) - Restoration needed per S. Brokop | TURF RESTORATION |  | Aug 27 2021 12:00AM
10505 | Utilities | Utilities | STORM PIPE, INSPECT | STORM PIPE, INSPECT - 238 TIMBER EDGE LN - WATER IS NOT RUNNING FROM HIS BACK YARD INTO HIS NEIGHBORS, WHICH HAS A STORM SEWER STRUCTURE THAT THEY THINK IS BLOCKED. SEE TICKET #10112 & 10450. | Work Complete |  |  |  | D | NO |  |  | NO |  | 1788 |  | kwillson | 5/19/2020 2:13:00 AM | W | 0.00 | 0.00 |  |  |  |  | 5/18/2020 12:00:00 AM |  |  |  |  | 5/19/2020 12:00:00 AM | 5/19/2020 12:00:00 AM | 0.00 | [10 empty] | 238 | TIMBER EDGE LANE | [15 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | STORM PIPE, INSPECT - 238 TIMBER EDGE LN - WATER IS NOT RUNNING FROM HIS BACK YARD INTO HIS NEIGHBORS, WHICH HAS A STORM SEWER STRUCTURE THAT THEY THINK IS BLOCKED. SEE TICKET #10112 & 10450. | STORM PIPE, INSPECT |  | May 19 2020 12:00AM
14356 | Utilities | Utilities | STORM SEWER EVALUATION | STORM SEWER EVALUATION- 238 Timber Edge Ln. please evaluate storm basin between yards. Inspect for roots and possible make repair if needed. | Work Complete |  |  |  | D | NO |  |  | NO |  | 1798 |  | JBurman | 9/29/2020 3:24:00 PM | W | 0.00 | 0.00 | [9 empty] | 10/20/2020 12:00:00 AM | 10/20/2020 12:00:00 AM | 0.00 | [7 empty] | 23283050220000 | 95 |  | 238 | TIMBER EDGE LANE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | STORM SEWER EVALUATION- 238 Timber Edge Ln. please evaluate storm basin between yards. Inspect for roots and possible make repair if needed. | STORM SEWER EVALUATION |  | Oct 20 2020 12:00AM
14385 | Utilities | Utilities | STORM SEWER CLEANING | STORM SEWER CLEANING- 238 Timber Edge Ln. need sewer jetted to follow up with televising w/ push camera. Resident should be home and may come out to ask questions. Yard flooding along ditch will be forwarded to County to clear ditch to restore drainage. | Work Complete |  |  |  | D | NO |  |  | NO |  | 1793 |  | JBurman | 10/1/2020 6:55:00 AM | W | 0.00 | 0.00 | [9 empty] | 10/1/2020 12:00:00 AM | 10/1/2020 12:00:00 AM | 0.00 | [7 empty] | 23283050220000 | 95 |  | 238 | TIMBER EDGE LANE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | STORM SEWER CLEANING- 238 Timber Edge Ln. need sewer jetted to follow up with televising w/ push camera. Resident should be home and may come out to ask questions. Yard flooding along ditch will be forwarded to County to clear ditch to restore drainage. | STORM SEWER CLEANING |  | Oct 1 2020 12:00AM
14801 | Streets | Streets | TURF RESTORATION | TURF RESTORATION - 238 TIMBER EDGE LN - STORM SEWER REPAIRED ON 10/15/2020, RESTORATION NEEDED/TURF: 30'X8' | Work Complete |  |  |  | D | NO |  |  | NO |  |  | 9122 | kwillson | 10/21/2020 8:55:00 PM | W | 0.00 | 0.00 |  |  |  |  | 10/21/2020 12:00:00 AM |  |  |  |  | 6/21/2021 12:00:00 AM | 6/21/2021 12:00:00 AM | 0.00 | [10 empty] | 238 | TIMBER EDGE LANE | [15 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | TURF RESTORATION - 238 TIMBER EDGE LN - STORM SEWER REPAIRED ON 10/15/2020, RESTORATION NEEDED/TURF: 30'X8' | TURF RESTORATION |  | Jun 21 2021 12:00AM
20530 | Streets | Streets | IRRIGATION SYSTEM REPAIR | IRRIGATION SYSTEM REPAIR 238 Timber Edge Lane | Work Complete |  |  |  | D | NO |  |  | NO |  | 1268 |  | sgallagher | 6/7/2021 1:22:00 PM | W | 0.00 | 0.00 | [9 empty] | 6/30/2021 12:00:00 AM | 7/19/2021 12:00:00 AM | 0.00 | [10 empty] | 238 | TIMBER EDGE LANE | [15 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | IRRIGATION SYSTEM REPAIR 238 Timber Edge Lane | IRRIGATION SYSTEM REPAIR |  | Jun 30 2021 12:00AM
22908 | Streets | Streets | TURF RESTORATION | TURF RESTORATION - 238 TIMBER EDGE LN - 30'X8' ( STORM SEWER REPAIRED ON 10/15/2020, TURF RESTORATION NEVER POPERLY COMPLETED BY GROUNDS KEEPER - TICKET #14801 SHOWS CLOSED ON 6/21/21) KEEPING IN HOUSE TO BE DONE CORRECTLY | Work Complete |  |  |  | D | NO |  |  | NO |  | 1760 |  | kwillson | 8/13/2021 8:50:00 AM | W | 0.00 | 0.00 | [9 empty] | 9/10/2021 12:00:00 AM | 9/13/2021 12:00:00 AM | 0.00 | [10 empty] | 238 | TIMBER EDGE LANE | [15 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | TURF RESTORATION - 238 TIMBER EDGE LN - 30'X8' ( STORM SEWER REPAIRED ON 10/15/2020, TURF RESTORATION NEVER POPERLY COMPLETED BY GROUNDS KEEPER - TICKET #14801 SHOWS CLOSED ON 6/21/21) KEEPING IN HOUSE TO BE DONE CORRECTLY | TURF RESTORATION |  | Sep 10 2021 12:00AM
20925 | Utilities | Utilities | B-BOX REPAIR | B-BOX REPAIR - lot behind 132 Whispering Lake Trail - b-box has been damaged. It has jagged edges on it. | Work Complete |  |  |  | D | NO |  |  | NO |  | 3158 |  | dkentner | 6/16/2021 2:41:00 PM | W | 0.00 | 0.00 |  |  |  |  | 6/16/2021 12:00:00 AM |  |  |  |  | 6/16/2021 12:00:00 AM | 6/21/2021 12:00:00 AM | 0.00 | [7 empty] | 23283070200000 | 95 |  | 132 | WHISPERING LAKE DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | B-BOX REPAIR - lot behind 132 Whispering Lake Trail - b-box has been damaged. It has jagged edges on it. | B-BOX REPAIR |  | Jun 16 2021 12:00AM
10404 | Utilities | Utilities | STORM PIPE, INSPECT | STORM PIPE, INSPECT - 145 PRAIRIE VIEW DRIVE AND 132 WHISPERING LAKE DRIVE - Evaluate drainage in these backyards, check pipes in the area and clear any obstructions. See attached picture. | Work Complete |  |  |  | D | NO |  |  | NO |  | 1798 |  | KKubik | 5/15/2020 4:30:00 PM | W | 0.00 | 0.00 |  |  |  |  | 5/14/2020 12:00:00 AM |  |  |  |  | 5/16/2020 12:00:00 AM | 9/18/2020 12:00:00 AM | 0.00 | [10 empty] | 142 | WHISPERING LAKE DRIVE | [15 empty] | 58.545000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 58.545000 | STORM PIPE, INSPECT - 145 PRAIRIE VIEW DRIVE AND 132 WHISPERING LAKE DRIVE - Evaluate drainage in these backyards, check pipes in the area and clear any obstructions. See attached picture. | STORM PIPE, INSPECT |  | May 16 2020 12:00AM
20678 | Utilities | Utilities | WATER SHUT OFF / TURN ON /TURN DOWN | WATER SHUT OFF / TURN ON /TURN DOWN - Plumber has completed work. Requesting water to be turned back on. | Work Complete |  |  |  | D | NO |  |  | NO |  | 1787 |  | tnoto | 6/10/2021 10:28:00 AM | W | 0.00 | 0.00 | [9 empty] | 6/10/2021 12:00:00 AM | 6/10/2021 12:00:00 AM | 0.00 | [7 empty] | 23283070180000 | 95 |  | 206 | WHISPERING LAKE DRIVE | [5 empty] | Palos Park | 60464 | IL | [7 empty] | 33.750000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 33.750000 | WATER SHUT OFF / TURN ON /TURN DOWN - Plumber has completed work. Requesting water to be turned back on. | WATER SHUT OFF / TURN ON /TURN DOWN |  | Jun 10 2021 12:00AM
1289 | Streets | Streets | TURF RESTORATION | 106 Whispering Lake Dr Valve Repair on 12/19/2018 RESTORATION NEEDED: Turf 30'x10' Note: Small parkway tree (white trunk-Birch?) See comments... | Work Complete |  |  |  | D | NO |  |  | NO |  | 1747 |  | kwillson | 12/21/2018 4:15:00 PM | W | 0.00 | 0.00 | [9 empty] | 8/22/2019 12:00:00 AM | 8/26/2019 12:00:00 AM | 0.00 | [27 empty] | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 0.000000 | 106 Whispering Lake Dr Valve Repair on 12/19/2018 RESTORATION NEEDED: Turf 30'x10' Note: Small parkway tree (white trunk-Birch?) See comments... | TURF RESTORATION |  | Aug 22 2019 12:00AM